## Slide 1: Seattle Power Outage
Team 4
YuanYuan Shi, Yanbo Qi, Ryan Kastilani, Jerry Chen

## Slide 2: Motivation
We LOVE Seattle ❤️
Power outage happens almost everyday in Seattle from couples to hundreds.
Seattle City Light
  Doesn’t know how many specialists should be hired daily. The cost is high for emergency repair, or customers need to wait longer time because the short of personal.
  Doesn’t know where is the possible locations and what types of equipment failure could happen. Underground transformer failure and insulator failure require different teams to repair.
Pain points
02/06/2017 9:41AM
Solutions
Use Machine Learning…
  Predict the number of power outage daily. (e.g. 70% chance of having 6-10 outages)
  Predict the failure type. (e.g. equipment-caused or tree/animal-caused failure)
Visualize…
  Use dashboard and heat map to help users to understand the outage history

## Slide 3: Review
Machine Learning for the New York City Power Grid (Rudin et. al., 2012)
  Goal: Predict the risk of failures for components and systems by rank
  Input: Outage History + Transformer telemetry + System Load + Temp. (2002-2009)
  ML: Ranking (k-fold cross validation) + ROC plots / region, citywide
New York City
Kansas City
(Columbia, MIT)
(Kansas State University)
Seattle City
(UW)
Power Outages in Seattle: Where, Why and How long? (CSE546 Course project)
  Goal: Predict outage duration
  Input: Outage History (Type, Location, maintenance time, affected customer) + Weather (Wind, Humidity, Temp.) (2000 - 2016)
  ML: LASSO model / 2-layer neural network
Estimation of Overhead Distribution System Outages Caused by Wind and Lightning Using an Artificial Neural Network (Kankanala, 2012)
  Goal: Overhead distribution system; Distribution reliability; Weather & animal-related outages
  Input: weather (wind, light strokes) (2005 - 2009)
  ML: 3-layer neural network

## Slide 4: POWER Grid
Power generation
High-voltage
Transmission
Substation
(step-down transformer)
Feeders
(Primary network)
27,000V
Transformer
(Secondary network)
120V
Image source: Google Image

## Slide 5: Process
Time Between Failure
Avg./Max.
Wind Speed
Sunrise/set
Feed # (Location)
Temp.
# of outages
Humidity
Failure Type
Outage History
Weather History
Data Processing
Cleaning
Pattern matching
Statistics
Labels outage types
K-Nearest Neighbors (KNN)
Support Vector Machines (SVM)
Tree-based Methods
Linear regression + regularization
Logistic Regression
Linear
Non-Linear
Machine Learning (use 2000-2014 data)
Neural Network/Deep Neural Network
Evaluation (use 2015-2016 data)
Problem Reformulation

## Slide 6: Use Case
Avg./Max.
Wind Speed
Sunrise/set
Outage Feed
Temp.
# of outages
Humidity
Failure Type
Get Prediction
Enter
Decide the # of on-call specialists
Have proactive maintenance plan
Hire certain types of specialists

## Slide 7: Visualization
Current Time: 02/13/2017 14:20
Feed | Type | 
2741 | UG riser fuse | 
2647 | Insulator | 
2752 | Insulator | 
2659 | UG Transformer | 
2741
2647
2752
2659
Total
Chance
0 - 10
60 %
Controlled
Equipment
Tree/Animal
2
4
7
Tomorrow
Year
2000
2017
2007
Month
Jan
Dec
Aug
Day
1
7
31
08/07/2007
08/07/2007
Start
End
Seattle Power Outage
Ver. 0.1